## Sheet1
ROF | ROF | RO Feed Input | RO Output | ROF Temp Fْ | [8 empty] | RO | Energy Consumption
Year | Month | Inflow ar ROFeed (MG) | Outflow at ROProduct (MG) | ROF Temp Fْ | ROF EC µS/cm | ROF pH | ROF Turbidity NTU | ROF TOC ppm | ROP EC µS/cm | ROP pH | ROP TurbidityNTU | ROP CO2 ppm | ROP TOC ppm | Enegry Consumptoin | Set Pints | Value | Controls Set Points | Value
2024 | Jan | 4121.564 | 3509.815 | 75.19 | 2326 | 6.9 | 0.03 | 7.99 | 43.7 | 5.4 | 0.02 | 90.64 | 0.05 | 6794155 | Turbidity | < 5 NTU optimum | 3. Turbidity MFF (bulk)
2024 | Feb | 3571.206 | 3043.409 | 73.95 | 1732 | 6.9 | 0.03 | 7.81 | 25.4 | 5.3 | 0.02 | 109.98 | 0.04 | 6486032 | Electric Conductivity | less that 72 uS/cm | < 5 NTU optimum
2024 | Mar | 1804.955 | 1531.001 | 75.13 | 1701 | 6.9 | 0.03 | 8.31 | 25 | 5.1 | 0.01 | 177.09 | 0.05 | 2672592 | TOC | less than .1 mg/L | < 20 NTU for membrane warranty
2024 | Apr | 3293.174 | 2801.91 | 76.2 | 2050 | 6.9 | 0.03 | 8.51 | 29.4 | 5.3 | 0.01 | 112.18 | 0.04 | 4941744 |  |  | > 20 NTU for no more than 4 hours |  | 72
2024 | May | 2180.829 | 1858.348 | 78.28 | 1717 | 6.9 | 0.03 | 8.53 | 23.6 | 4.9 | 0.01 | 264 | 0.06 | 3584624 |  |  | < 50 NTU at all times
2024 | Jun | 3003.784 | 2571.908 | 80.39 | 1646 | 6.9 | 0.02 | 7.75 | 24.1 | 4.9 | 0.01 | 250.71 | 0.07 | 4550560
2024 | Jul | 3073.896 | 2633.817 | 83 | 1683 | 6.9 | 0.02 | 7.47 | 27.5 | 5.1 | 0.02 | 173.76 | 0.06 | 5123120 |  |  | Electrical Conductivity (EC) ROP (unit)4 < 90 µS/cm
2024 | Aug | 3321.439 | 2843.472 | 84.04 | 1648 | 6.9 | 0.02 | 7.46 | 27.7 | 5.4 | 0.02 | 91.01 | 0.06 | 5067280 |  |  | < 100 µS/cm for individual units
2024 | Sep | 3278.721 | 2804.163 | 83.63 | 1635 | 6.9 | 0.02 | 7.79 | 26.9 | 5.5 | 0.02 | 67.22 | 0.05 | 5047761 |  |  | Total Organic Carbon (TOC) ROP (bulk) < 0.1 mg/L
2024 | Oct | 3377.223 | 2885.564 | 81.76 | 1623 | 6.9 | 0.02 | 7.45 | 26.7 | 5.3 | 0.01 | 102.58 | 0.05 | 5113583.3125
2024 | Nov | 3599.145 | 3058.878 | 78.48 | 1918 | 6.9 | 0.03 | 7.62 | 34.1 | 5.4 | 0.01 | 79.99 | 0.05 | 6615888
2024 | Dec | 4289.286 | 3647.004 | 76.91 | 2220 | 6.9 | 0.03 | 7.04 | 34 | 5.4 | 0.01 | 80.33 | 0.04 | 7468672
2023 | Jan | 4010.909 | 3390.159 | 73.85 | 2391 | 6.9 | 0.03 | 7.4 | 47.4 | 5.1 | 0.01 | 170.99 | 0.04 | 6583584
2023 | Feb | 3402.126 | 2879.219 | 73.51 | 2248 | 6.9 | 0.03 | 7.99 | 43.4 | 5.1 | 0.02 | 150.84 | 0.04 | 6321708
2023 | Mar | 2276.827 | 1931.754 | 73.23 | 1839 | 6.9 | 0.03 | 8.46 | 33.2 | 5.2 | 0.02 | 154.73 | 0.04 | 3539256
2023 | Apr | 2600.595 | 2195.535 | 76.832 | 2603.56 | 6.9 | 0.05 | 8.582 | 33.2 | 5.2 | 0.02 | 154.73 | 0.04 | 4191532
2023 | May | 4010.909 | 3390.159 | 77.28 | 2256 | 6.9 | 0.03 | 7.46 | 50.4 | 5.2 | 0.01 | 120.41 | 0.05 | 6111088
2023 | Jun | 3921.734 | 3328.222 | 78.74 | 2267 | 6.9 | 0.03 | 7.13 | 55.9 | 5.1 | 0.01 | 201.27 | 0.05 | 6684928
2023 | Jul | 4085.658 | 3479.346 | 81.47 | 2369 | 6.9 | 0.03 | 7.12 | 63.6 | 5.4 | 0.01 | 105.68 | 0.06 | 6534736
2023 | Aug | 3395.406 | 2876.909 | 83.917 | 2547.519 | 6.929 | 0.034 | 8.1 | 73.846 | 5.321 | 0.098 | 325 | 0.082 | 4852512
2023 | Sep | 3386.689 | 2862.349 | 83.34 | 1604 | 6.9 | 0.03 | 7.54 | 35.2 | 5.2 | 0.02 | 145.79 | 0.05 | 5106856
2023 | Oct | 4015.11 | 3402.348 | 81.73 | 2274 | 6.9 | 0.03 | 6.76 | 60.5 | 5.3 | 0.01 | 110.33 | 0.05 | 6038519
2023 | Nov | 4031.145 | 3413.411 | 79.51 | 2370 | 6.9 | 0.03 | 6.58 | 60.2 | 5.1 | 0.02 | 191.64 | 0.05 | 7407313
2023 | Dec | 4156.331 | 3525.41 | 77.18 | 2345 | 6.9 | 0.03 | 6.94 | 50.5 | 5 | 0.02 | 223.5 | 0.05 | 7468666
2022 | Jan | 3279.873 | 2784.005 | 75.07 | 1651 | 6.9 | 0.03 | 8.54 | 49.9 | 5.1 | 0.02 | 151.83 | 0.05 | 5022596
2022 | Feb | 2997.814 | 2543.281 | 75.35 | 1713 | 6.9 | 0.03 | 8.93 | 34.2 | 5 | 0.02 | 207.08 | 0.06 | 5643428
2022 | Mar | 3290.814 | 2793.188 | 76.57 | 1712 | 6.9 | 0.02 | 9.21 | 35.2 | 5.1 | 0.02 | 154.51 | 0.06 | 5060668
2022 | Apr | 2471.219 | 2099.254 | 78.39 | 1738 | 6.9 | 0.03 | 9.07 | 37.6 | 5 | 0.01 | 189.34 | 0.06 | 3997576
2022 | May | 3299.534 | 2800.94 | 79.85 | 1731 | 6.9 | 0.03 | 9.13 | 36.7 | 5.1 | 0.01 | 147.72 | 0.06 | 5353196
2022 | Jun | 3081.082 | 2615.317 | 82.03 | 1633 | 6.9 | 0.02 | 8.73 | 36.1 | 5.3 | 0.02 | 107.7 | 0.06 | 4703699
2022 | Jul | 3163.269 | 2615.317 | 83.88 | 1617 | 6.9 | 0.03 | 8.49 | 49.9 | 5.1 | 0.02 | 151.83 | 0.05 | 4433661
2022 | Aug | 3240.724 | 2741.693 | 85.29 | 1691 | 6.9 | 0.03 | 8.3 | 52 | 5.5 | 0.01 | 62.02 | 0.06 | 4474568
2022 | Sep | 2894.031 | 2784.005 | 85.58 | 1704 | 6.9 | 0.03 | 8.45 | 51.8 | 5.4 | 0.02 | 74.9 | 0.06 | 4513548
2022 | Oct | 3332.283 | 2803.348 | 83.81 | 1706 | 6.9 | 0.03 | 8.67 | 40.4 | 5.2 | 0.02 | 128.99 | 0.06 | 4777168
2022 | Nov | 3287.706 | 2763.193 | 79.37 | 1714 | 6.9 | 0.03 | 8.42 | 51.8 | 5.4 | 0.02 | 74.9 | 0.06 | 5483061
2022 | Dec | 3499.001 | 2938.94 | 76.22 | 2213 | 6.9 | 0.03 | 7.67 | 49.9 | 5.1 | 0.02 | 151.83 | 0.05 | 5834663
2021 | Jan | 3251.22 | 2759.594 | 75.07 | 1672 | 6.9 | 0.02 | 8.77 | 26.2 | 5.4 | 0.03 | 81.77 | 0.05 | 5433832
2021 | Feb | 2974.219 | 2525.723 | 75.12 | 1672 | 6.9 | 0.02 | 8.77 | 27.1 | 5.4 | 0.03 | 84.82 | 0.05 | 6043748
2021 | Mar | 3293.954 | 2799.534 | 75.39 | 1620 | 6.9 | 0.02 | 8.71 | 25.1 | 5.4 | 0.02 | 86.29 | 0.05 | 5374864
2021 | Apr | 3204.345 | 2723.255 | 77.67 | 1709 | 6.9 | 0.02 | 8.83 | 28.2 | 5.4 | 0.02 | 73.83 | 0.05 | 5343808
2021 | May | 3220.455 | 2735.659 | 79.36 | 1689 | 6.9 | 0.02 | 8.36 | 31.8 | 5.5 | 0.02 | 62.25 | 0.06 | 5151275
2021 | Jun | 3258.531 | 2761.251 | 81.36 | 1704 | 6.9 | 0.02 | 8.32 | 33.1 | 5.6 | 0.02 | 54.23 | 0.06 | 5462469
2021 | Jul | 3387.814 | 2881.002 | 83.68 | 1710 | 6.9 | 0.02 | 8.53 | 37.6 | 5.6 | 0.02 | 49.63 | 0.06 | 4958084
2021 | Aug | 1243.939 | 1056.814 | 84.56 | 1706 | 6.9 | 0.03 | 8.44 | 41.7 | 5.5 | 0.02 | 62.93 | 0.06 | 1765336
2021 | Sep | 3061.657 | 2588.037 | 84.09 | 1698 | 6.9 | 0.02 | 8.62 | 39.2 | 5.6 | 0.01 | 50.53 | 0.06 | 5326164
2021 | Oct | 3364.721 | 2692.442 | 81.83 | 1701 | 6.9 | 0.02 | 8.57 | 37.3 | 5.4 | 0.01 | 92 | 0.06 | 5017979
2021 | Nov | 3214.515 | 2860.192 | 81.83 | 1701 | 6.9 | 0.02 | 8.57 | 37.3 | 5.4 | 0.01 | 92 | 0.06 | 5798534
2021 | Dec | 3157.268 | 2692.442 | 76.33 | 1647 | 6.9 | 0.03 | 8.51 | 35 | 5.2 | 0.01 | 137.49 | 0.05 | 5045000
2020 | Jan | 3501.892 | 2978.597 | 75.21 | 1727 | 6.9 | 0.08 | 7.88 | 30.4 | 5.4 | 0.06 | 71.82 | 0.04 | 5877645
2020 | Feb | 3081.36 | 2619.565 | 75.19 | 1691 | 6.9 | 0.09 | 8.35 | 33 | 5.5 | 0.05 | 62.59 | 0.04 | 5938748
2020 | Mar | 3377.361 | 2872.921 | 75.66 | 1717 | 6.9 | 0.1 | 8.26 | 31 | 5.5 | 0.06 | 58.64 | 0.04 | 5604121
2020 | Apr | 2503.704 | 2130.473 | 76.17 | 1743 | 6.9 | 0.08 | 7.73 | 31 | 5.4 | 0.05 | 77.32 | 0.04 | 4220470
2020 | May | 2143.157 | 1818.409 | 79.69 | 1750 | 6.9 | 0.12 | 7.47 | 36 | 5.4 | 0.07 | 76.19 | 0.05 | 4433396
2020 | Jun | 3239.532 | 2758.66 | 81.39 | 1718 | 6.9 | 0.11 | 7.41 | 39.6 | 5.5 | 0.01 | 61.85 | 0.06 | 5903832
2020 | Jul | 3356.187 | 2849.004 | 82.89 | 1732 | 6.9 | 0.02 | 7.78 | 38.5 | 5.5 | 0.02 | 58.12 | 0.06 | 5193968
2020 | Aug | 3501.892 | 2536.41 | 84.08 | 1696 | 6.9 | 0.02 | 8.11 | 41 | 5.6 | 0.01 | 62.43 | 0.06 | 4368936
2020 | Sep | 3049.879 | 2595.538 | 84.15 | 1664 | 6.9 | 0.02 | 7.74 | 39.2 | 5.5 | 0.01 | 60.17 | 0.06 | 5578092
2020 | Oct | 3321.705 | 2829.567 | 83.42 | 1656 | 6.9 | 0.02 | 7.97 | 35.7 | 5.5 | 0.02 | 62.38 | 0.06 | 4945568
2020 | Nov | 3224.875 | 2743.068 | 79.73 | 1656 | 6.9 | 0.02 | 8.47 | 30.2 | 5.5 | 0.03 | 64.33 | 0.06 | 5858732
2020 | Dec | 3238.626 | 2747.035 | 76.53 | 1654 | 6.9 | 0.02 | 8.5 | 26.4 | 5.5 | 0.02 | 61.26 | 0.06 | 5369336

## Sheet2
Feed | wastewater entering
product | Clean Water prodcued
Year | Year data was collected
Month | Month data was collected
Inflow ar ROFeed (MG) | RO Feed is the amount of Wastewater in MG when it enters the RO system
Outflow at ROProduct (MG) | RO P roduct is the amount of potable water in MG when it leaves the RO system
ROF Temp Fْ | Temp of water at Feed (entry)
ROF EC µS/cm
ROF pH
ROF Turbidity NTU
ROF TOC ppm
ROP EC µS/cm
ROP pH
ROP TurbidityNTU
ROP CO2 ppm
ROP TOC ppm
Enegry Consumptoin